## Slide 1: Introduction to Quality Control
Presented by
Matt Field
JCSMR, ANU
Annette McGrath | CSIRO, Canberra
Sean McWilliam | CSIRO, Brisbane
Notes: 1

## Slide 2: Overview
What does raw data look like!?
  FASTQ format
Illumina error profile
Contamination
Errors and contamination
  Impact and dealing with them
QC practical

## Slide 3: FASTQ
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
ID

## Slide 4: FASTQ
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
Sequence string

## Slide 5: FASTQ
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
ID - optional

## Slide 6: FASTQ
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
Quality string

## Slide 7: FASTQ
Each base has an associated Phred quality score (0-40)
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B

## Slide 8: Phred Scores and Error Probability
Phred Quality Score | Error Probability | Accuracy of the base call (%)
10 | 0.1 | 90
20 | 0.01 | 99
30 | 0.001 | 99.9
40 | 0.0001 | 99.99
50 | 0.00001 | 99.999

## Slide 9: FASTQ
Each base has an associated Phred quality score (0-40)
  Represented by a single printable ASCII character
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
!"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefgh
Printable ASCII characters

## Slide 10: FASTQ
Each base has an associated Phred quality score (0-40)
  Represented by a single printable ASCII character
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
efcfffffcfeefffcffffffddf`feed]`]_Ba_^__[YBBBBBBBBBBRTT\]][B
33 64 104
| | |
!"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefgh
Decimal values

## Slide 11: FASTQ Encoding/Offset
33 64 104
| | |
!"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefgh
Sanger (Phred+33)
Solexa (Phred+64)
Illumina 1.3+ (Phred+64)
Illumina 1.5+ (Phred+64)
Illumina 1.8+ (Phred+33)

## Slide 12: FASTQ Encoding/Offset
33 64 104
| | |
!"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefgh
Sanger (Phred+33)
Solexa (Phred+64)
Illumina 1.3+ (Phred+64)
Illumina 1.5+ (Phred+64)
Illumina 1.8+ (Phred+33)
http://shop.alterlinks.com/ascii-table/ascii-table-us.php
http://en.wikipedia.org/wiki/FASTQ_format#Encoding
Problem area

## Slide 13: FASTQ Encoding/Offset
33 64 104
| | |
!"#$%&'()*+,-./0123456789:;<=>?@ABCDEFGHIJKLMNOPQRSTUVWXYZ[\]^_`abcdefgh
Sanger (Phred+33)
Solexa (Phred+64)
Illumina 1.3+ (Phred+64)
Illumina 1.5+ (Phred+64)
Illumina 1.8+ (Phred+33)
@HWI-EAS209_0006_FC706VJ:5:58:5894:21141#ATCACG/1
TTAATTGGTAAATAAATCTCCTAATAGCTTAGATNTTACCTTNNNNNNNNNNTAGTTTCT
+
CCCBDDDCCBDDEEEEEEEFFFFFFEEEEEEEEEEDDDDDDEECDFFFHGGGGHHHIICC
Good Phred+33 encoded
or
Bad Phred+64 encoded?

## Slide 14: FASTQ Encoding/Offset
Most tools provide a means to explicitly state if Phred+33 or Phred+64 encoding is used for the quality string
Many can automatically detect the correct encoding
  Best you state this explicitly, especially for quality trimmed data

## Slide 15: Illumina Error Profile
Base miscalls
Quality deterioration towards the 3' end
Ledergerber, C. & Dessimoz, C. Base-calling for next-generation sequencing platforms. Brief Bioinform 12, 489–497 (2011)

## Slide 16: Each Spot Is a Cluster
Clusters close together, mixed clusters
  Multiple signals
Phasing issues
  Some sequences in a cluster start to lag behind
Cross-talk
  Emission spectra of the 4 dyes partially overlap
  Cluster lights up In C channel also partially lights up in the A channel
Fading
Accumulation of T fluorophore

## Slide 17: Contamination
Biological sequences
  Bacteria, host, symbiont, human, alien …
Artificial sequences
  PCR primers
  Adapters

## Slide 18: Impact of Errors and Contamination
All downstream analysis depend on finding overlaps/alignments
  Align/map reads to reference
  Find overlaps between pairs of reads in de novo assembly
X = error
= SNP
Kelley et al. Genome Biology 2010 11:R116

## Slide 19: Impact of Errors and Contamination
Sequencing errors blow out memory requirements of de Bruijn graphs
Fail to find overlaps/alignments
Chimeric sequences

## Slide 20: Dealing with Errors and Contamination
Check quality scores
  Trim away poor quality bases
Remove adapter and primer sequences
  Trim or remove whole reads
Remove reads below a minimum length
Error correction methods

## Slide 21: Check Quality Scores
FastQC: http://www.bioinformatics.babraham.ac.uk/projects/fastqc/

## Slide 22: Read Trimming
Fixed length trimming
  Remove all bases before/after a given base
  Quick, computationally easy
  Throws away good data and shortens reads
Quality-based trimming
  Remove bases following a "poor" quality base
  Retains more good data
  Throws away good data if there is a single spurious "poor" quality base
Sliding window
  Defines trim points based on average quality in a sliding window across each read
  Computationally more expensive
  Allows spurious "poor" quality bases to be retained

## Slide 23: Practical
FastQC to visualise the read information
FASTX-Toolkit for quality-based trimming
Some additional information about
  Fixed-length trimming
  Adapter removal
  Read duplicate removal

## Slide 24: Comparison of NGS QC Tools
Patel, R. K. & Jain, M. PLoS ONE 7, e30619 (2012)

## Slide 25: Conclusions
QC is an critical for downstream analyses
A range of tools exist to visualise and deal with poor quality data and contaminants
If you're stressing about throwing away the data, you haven't done enough sequencing! 

## Slide 26: Thank you

## Slide 27
Read Duplicates
Duplicates are identical reads mapping to the same genomic location.
  Effects of PCR amplification bias
  Excess computational resources and errors
Picard: MarkDuplicates
  http://picard.sourceforge.net/
Condetri: filterPCRDupl.pl
  http://code.google.com/p/condetri/
http://proteo.me.uk/2011/05/interpreting-the-duplicate-sequence-plot-in-fastqc
Notes: 27

## Slide 28
Read Duplicates: RNA-Seq

## Slide 29: Sequencing-error correction
k-spectrum based approach
  e.g. Quake, Reptile, Hammer
Suffix tree/array-based
  e.g. SHREC
MSA-based methods
  e,g. Coral, ECHO
K-mers
Read
Create K-mers
from Reads
FASTQ
Discarded Read
Discarded Read
Read
?
Corrected Read
Corrected Read
Read
Yang, X., Chockalingam, S. P. & Aluru, S. Brief Bioinform (2012).

## Slide 30: Reference based processing for error correction
Removal of read duplications
  Duplicates are identical reads mapping to the same genomic location.
    Effects of PCR amplification bias.
    Excess computational resources and errors.
  Picard: MarkDuplicates - http://picard.sourceforge.net/
Local realignment around indels
Read-mapping algorithms operate on each read independently.
Lead to misaligned reads due to indels.
Result in mistaken SNP identification.
Local realignment cleans the reads and assist standard variant discovery approaches.
GATK: Indel Realigner - http://www.broadinstitute.org/gsa/wiki/index.php/Local_realignment_around_indels